## Sheet1
FORMULAS
CFM=
Electric Heat
Volts | Amps | x 3.413 |  | BTU | CFM
0
delta t |  |  |  | 0
CFM=
Gas Furnace
BTU rating |  |  |  | BTU | CFM
60000 |  |  |  | 55200 | 1022.2222
Efficiency | 92% | delta t | 50
BTU=
Heating or Cooling
CFM |  |  | delta t |  | BTU
1022 |  | x | 50 | = | 55188
delta t
Heating or cooling
BTU |  |  |  |  | delta t
55200 |  |  |  |  | 50.0109
1022
CFM
Clear Form
Clear Form
Clear Form
Clear Form